## Slide 1: May 1st 2015 Conference Call

## Slide 2: Summary
The new version of Glycoseq significantly reduced the analysis time. (<10min now, <5hr previous version)
The new algorithm shows potency in reduce the FDR to a manageable level.

## Slide 3
MASCOT extractor:
Using same ion score cut-off, the output from MASCOT extractor is not same with the output from MASCOT sever. MASCOT extractor gives 50% more peptides. However, the output from MASCOT server is not a subset of MASCOT extractor output. (Related files are uploaded to dropbox)
MASCOT extractor only consider the cleaved peptide sequence. Therefore, it missed NKS/T as a potential glycosylation site.
Batch mode, merge tool.
Fasta file extractor:
Expected input: an excel sheet contains interested protein accession numbers, a database fasta file.
Expected output: a fasta file contains only the interested protein sequences.
General Issues with MASCOT Extractor

## Slide 4: General Issues with Glycoseq (1)
Can not input glycan list
If we uncheck this, there will be no result.
If we uncheck this, Glycoseq will crush.

## Slide 5: General Issues with Glycoseq (2)
It will give structural isomer, however, we would like to consider structural isomer as same at this point. And rank the compositional glycoforms. Details in following slides.
This tolerance setting seems has nothing to do with the result. Even if we set 10 ppm, the result will still shows a lot IDs with >20ppm. Details in following slides.

## Slide 6: General Issues with Glycoseq (3)
Row 1, with identified peptide sequence and glycan, mass accuracy is 445.7149ppm. However, we set it to 20ppm. In this case, we expected to see a glycoform identified with a unknown peptide.
Row 1, if there is appended glycans, we would like to see it in the composition. In this case, we expected to see 23100, not 23000.
Row 2&3, there is no matching peptide sequence, then how the mass tolerance was calculated?
Row 5~7, for a same scan, we would like the same glycan composition to be merged as a single ID.

## Slide 7: Glycoseq ID issues (1)
Our manually processed data was refined and compared to Glycoseq processed result. (305 -> 138) Anything is not expected to be identified by your software is removed. (Peptide sequence not from PNGase F samples, Sulfated glycans, Formated glycans, Modified M, incorrect C modification, no core structure N glycans)
For file “131 HILIC 01”, Glycoseq identified 714 scans. During the 714 scans, 103 also identified by manually interpretation.
On the other hand, 34 scans were uniquely identified by manually interpretation, 611 scans were uniquely identified by Glycoseq.
Currently, the 103 matched result were investigated in details.

## Slide 8: Glycoseq ID issues (2)
Among the 103 scans identified by Glycoseq and manually interpretation, 69 of them were completely match while 34 of them were not match due to different reasons:
(1) (50%) Glycoseq randomly assigned peptide backbone when several peptide backbones are within the mass tolerence: scan 1071, 1086, 1106, 1324, 1682, 1885
(2) Wrong Y1:
Case 1: a Y1 – Fuc can be found (although the Y1- Fuc is lower intense), therefore, the software will only come back with one answer of taking Y1-Fuc as Y1 and take the real Y1 as Y1+ Fuc.
Sub Case 1. The Y1-Fuc is a meaningless peak: Scan 1442, 1579,
Sub Case 2. The Y1-Fuc is a peak from other charge state series: Scan 1636
Case 2. GlycoSeq Missed the Y1 for unknown reason: Scan 670
Case 3. Y1 intensity is too low: Scan 2265

## Slide 9: Random Peptide Backbone (1)

## Slide 10: Random Peptide Backbone (2)

## Slide 11: Wrong Y1 Case 1 Sub 1
Glycoseq: unkown+27100
Y1: 1046
Manual: ENGTDTVQEEEESPAEGSK+27000
Y1: 1120

## Slide 12: Wrong Y1 Case 1 Sub 2 (1)
Glycoseq: unkown+24100
Y1: 837 Y1+Fuc: 909 (low rank peak)
Manual: DLGPTLANSTHHNVR+23100
Y1: 918

## Slide 13: Wrong Y1 Case 1 Sub 2 (2)
Glycoseq: unkown+24100
Y1: 837 Y1+Fuc: 909 (low rank peak)
Manual: DLGPTLANSTHHNVR+23100
Y1: 918

## Slide 14: Wrong Y1 Case 2 (1)
Glycoseq: unkown+34100
Y1: 895 (low rank peak)
Manual: VVNSTTGPGEHLR+45000
Y1: 785

## Slide 15: Wrong Y1 Case 2 (2)
Glycoseq: unkown+34100
Y1: 895 (low rank peak)
Manual: VVNSTTGPGEHLR+45000
Y1: 785

## Slide 16: Future Work
Investigate the false negatives (34 scans were uniquely identified by manual interpretation).
All removed IDs from manual interpretation are expected to be identified as unknown pep+glycan. (Peptide sequence not from PNGase F samples, Sulfated glycans, Formated glycans, Modified M, incorrect C modification)